APPENDIX B

ELEKTA SELF ASSESSMENT CHECKLIST

NAME: ____________________________

SIGNATURE: _______________________

DATE: ____________________________

| Objectives: | Completed |
| --- | --- |
| Terminology: (iVIEW, kV and MV images, XVI, CBCT, FOV) |  |
| QA : |  |
| Perform unit start up and shut down procedures |  |
| Use correct sequence for logging into and off computers |  |
| Perform all aspects of morning QA |  |
| ELEKTA DESKTOP: |  |
| Understand the need to click on “Receive external prescription” |  |
| Access/understand tab functions: - MLC - Table functions - Accessories |  |
| Review restrictions/inhibits |  |
| Linac PC cabinet: Identify and understand the functions of: - Key reset - Beam MU monitor - Power Button |  |
| MACHINE OPERATION IN ROOM: |  |
| Understanding of emergency procedures - Emergency buttons - Emergency bed procedure (manually) - Touch guards/emergency stops - LPO (Last Person Out) |  |
| Operation of the treatment couch - Understanding of all functions & buttons - Operate the user Interface to move the bed |  |
| Operation of Imaging Devices - Understanding of all functions - Imaging field sizes - Position of electrical wires - Tube warm up (done in morning QA or after 4 hrs of inactivity) - Extract and retract panels - Offsetting of MV & kV panels - Avoiding collisions - Set correct FOV - Avoiding electronics in panel - Adjusting area of interest for imaging - CBCT Modes: - Half Scan vs Full Scan - Filters and collimators |  |
| Confirm wedge orientation |  |
| Manually move collimator in room |  |
| MACHINE OPERATION OUTSIDE ROOM: |  |
| Operate function key pad: - Move gantry/collimator - Move bed - Retract iView panel - Beam on (MV and kV) - Interrupt beam (MV and kV) - Terminate beam |  |
| Ensure MLC Shape is acceptable according to the Unit |  |
| IVIEW IMAGES |  |
| Select patient and acquire images: - Single exposure - Double exposure - Multiple exposures |  |
| Change field description to ensure correct association when sent to Mosaiq |  |
| Delete patient and images from database |  |
| Set reference images (annotations if required) |  |
| View images from other machines (show all stations) |  |
| Understand shift information and directions |  |
| XVI IMAGES |  |
| Understand the importance of testing gantry clearance for the complete rotation for CBCT (in safe zone if applicable) and treatment position |  |
| Import reference image - Set clip box - Set automatic match (Bone/Grey value) - Determine collimator length - Determine which structures/contours are needed - Determine appropriate preset in Mosaiq |  |
| Acquire image (In/Out of Synergistiq mode if applicable) Verify: - panel position - filter - scan parameters |  |
| View and manipulate/analyze images: - Visual verification after every auto-match - Display modes (Cut, Green-Purple, Localization) - Measuring tools - Contrast and brightness - Manual adjustments (numbers and arrows) - Review previously registered CBCT scans |  |
| Rotations - Zero out rotations if needed - Site specific tolerances as per policy |  |
| Shifts - Site specific tolerances as per policy - Remote table shift limits (Function key pad) - Manual shifts (using XVI screen) - Convert to Correction for Table Shifts - Understand shifts (Table vs. Isocenter shifts) - Recording of shifts (manual or capture) - Retrieve shift data from: XVI and Mosaiq |  |
| Move images |  |
| Inactivate a treatment course |  |
| Export images to Mosaiq or other programs |  |
| Image Reconstruction |  |
| Adjust clip box on reference scan |  |
| Delete patient and images from database |  |
| TROUBLESHOOTING |  |
| Machine Components/Functions: - Unable to move table/gantry etc. - Process following beam interruption by therapist - Process following termination of beam by therapist - Touch guards were activated - Linac ASU function is not working - iView: exposure buttons are not available (grey) - Interlocks/Inhibits are activated - List common interlocks for each centre |  |